## Everest Details
S.No. | EVEREST_NAME | PROCESS ID | WEB_ACCESS | EVE_PORT NO | JAVA PORT | PATH | SERVER | ACTION | PROCESS NAME | SERVICE (Infrastructure Management Suite) | SERVICE (Process Manager) | Java Poller
1 | Everest 3.0SP2 | 1 | 10.137.12.159:8000 | 8000 | NA | C:\Program Files (x86)\Everest 3.0SP2 | 159 | PRESENTATION | EVE_PRESENTATION.exe | Everest 3.0SP2 Infrastructure Management Suite | Everest 3.0SP2 Process Manager | NA
2 | EVEREST_PRESENTATION2 | 8 | 10.137.12.159:8005 | 8005 | NA | F:\EVEREST_PRESENTATION2 | 159 | PRESENTATION | EVEREST_PRESENTATION.exe | EVEREST_PRESENTATION2 Infrastructure Management Suite_2014-12-10 15:20 | EVEREST_PRESENTATION2 Process Manager_2014-12-10 15:20 | NA
3 | EVEREST_PRESENTATION3 | 43 | 10.137.12.159:8008 | 8008 | NA | F:\EVEREST_PRESENTATION3 | 159 | PRESENTATION | EVE_PRESENTATION3.exe | EVEREST_PRESENTATION3 Infrastructure Management Suite_2015-7-23 12:19 | EVEREST_PRESENTATION3 Process Manager_2015-7-23 12:19 | NA
4 | EVEREST_PRESENTATION4 | 45 | 10.137.12.159:8009 | 8009 | NA | F:\EVEREST_PRESENTATION4 | 159 | PRESENTATION | EVE_PRESENTATION4.exe | EVEREST_PRESENTATION4 Infrastructure Management Suite_2015-9-4 15:01 | EVEREST_PRESENTATION4 Process Manager_2015-9-4 15:01 | NA
5 | EVEREST_PRESENTATION5 | 46 | 10.137.12.159:8010 | 8010 | NA | F:\EVEREST_PRESENTATION5 | 159 | PRESENTATION | EVE_PRESENTATION5.exe | Presentation5 Infrastructure Management Suite_2015-9-4 15:25 | Presentation5 Process Manager_2015-9-4 15:25 | NA
6 | EVEREST_DISCOVERY_MANAGER | 4 | 10.137.12.159:8001 | 8001 | NA | F:\EVEREST_DISCOVERY_MANAGER | 159 | DICOVERY | EVEREST_DISCOVERY_MANAGER.exe | EVEREST_DISCOVERY_MANAGER Infrastructure Management Suite_2014-12-10 15:11 | EVEREST_DISCOVERY_MANAGER Process Manager_2014-12-10 15:11 | NA
7 | EVEREST_DISCOVERY_MANAGER_V3 | 10 | 10.137.12.159:8007 | 8007 | NA | F:\EVEREST_DISCOVERY_MANAGER_V3 | 159 | DICOVERY | EVEREST_DISCOVERY_MANAGER_V3.exe | EVEREST_DISCOVERY_MANAGER_V3 Infrastructure Management Suite_2014-12-13 18:41 | EVEREST_DISCOVERY_MANAGER_V3 Process Manager_2014-12-13 18:41 | NA
8 | EVEREST_REPORTER | 5 | 10.137.12.159:8002 | 8002 | NA | F:\EVEREST_REPORTER | 159 | REPORTER | EVEREST_REPORTER.exe | EVEREST_REPORTER Infrastructure Management Suite_2014-12-10 15:15 | EVEREST_REPORTER Process Manager_2014-12-10 15:15 | NA
9 | EVEREST_REPORTER2 | 47 | 10.137.12.159:8011 | 8011 | NA | F:\EVEREST_REPORTER2 | 159 | REPORTER | EVEREST_REPORTER2.exe | EVEREST_REPORTER2 Infrastructure Management Suite_2015-9-9 14:29 | EVEREST_REPORTER2 Process Manager_2015-9-9 14:29 | NA
10 | EVEREST_REPORTER3 | 48 | 10.137.12.159:8012 | 8012 | NA | F:\EVEREST_REPORTER3 | 159 | REPORTER | EVEREST_REPORTER3.exe | EVEREST_REPORTER3 Infrastructure Management Suite_2015-9-9 15:20 | EVEREST_REPORTER3 Process Manager_2015-9-9 15:20 | NA
11 | EVEREST_REPORTER4 | 49 | 10.137.12.159:8013 | 8013 | NA | F:\EVEREST_REPORTER4 | 159 | REPORTER | EVEREST_REPORTER4.exe | EVEREST_REPORTER4 Infrastructure Management Suite_2015-9-9 15:21 | EVEREST_REPORTER4 Process Manager_2015-9-9 15:21 | NA
12 | EVEREST_REALTIME | 6 | 10.137.12.159:8004 | 8004 | NA | F:\EVEREST_REALTIME | 159 | REALTIME | EVEREST_NOTIFIER.exe | EVEREST_REALTIME Infrastructure Management Suite_2014-12-10 15:18 | EVEREST_REALTIME Process Manager_2014-12-10 15:18 | NA
13 | EVEREST_NOTIFIER | 7 | 10.137.12.159:8003 | 8003 | NA | F:\EVEREST_NOTIFIER | 159 | NOTIFIER | EVEREST_REALTIME.exe | EVEREST_NOTIFIER Infrastructure Management Suite_2014-12-10 15:18 | EVEREST_NOTIFIER Process Manager_2014-12-10 15:18 | NA
14 | EVEREST_MAINTENANCE | 9 | 10.137.12.159:8006 | 8006 | NA | F:\EVEREST_MAINTENANCE | 159 | MAINTENACE | EVEREST_MAINTENANCE.exe | EVEREST_MAINTENANCE Infrastructure Management Suite_2014-12-10 15:21 | EVEREST_MAINTENANCE Process Manager_2014-12-10 15:21 | NA
15 | EVE_DC1 | 2 | 10.137.12.183:8101 | 8101 | 8161 | D:\EVE_DC1 | 183 | DC | EVE_DC1.exe | EVE_DC1 Infrastructure Management Suite | EVE_DC1 Process Manager | EVE_DC1_Java_Poller
16 | EVE_DC2 | 3 | 10.137.12.183:8102 | 8102 | 8162 | D:\EVE_DC2 | 183 | DC | EVE_DC2.exe | EVE_DC2 Infrastructure Management Suite | EVE_DC2 Process Manager | EVE_DC2_Java_Poller
17 | EVE_DC3 | 12 | 10.137.12.183:8103 | 8103 | 8163 | D:\EVE_DC3 | 183 | DC | EVE_DC3.exe | EVE_DC3 Infrastructure Management Suite | EVE_DC3 Process Manager | EVE_DC3_Java_Poller
18 | EVE_DC4 | 13 | 10.137.12.183:8104 | 8104 | 8164 | D:\EVE_DC4 | 183 | DC | EVE_DC4.exe | EVE_DC4 Infrastructure Management Suite | EVE_DC4 Process Manager | EVE_DC4_Java_Poller
19 | EVE_DC5 | 14 | 10.137.12.183:8105 | 8105 | 8165 | D:\EVE_DC5 | 183 | DC | EVE_DC5.exe | EVE_DC5 Infrastructure Management Suite | EVE_DC5Process Manager | EVE_DC5_Java_Poller
20 | EVE_DC6 | 15 | 10.137.12.183:8106 | 8106 | 8166 | D:\EVE_DC6 | 183 | DC | EVE_DC6.exe | EVE_DC6 Infrastructure Management Suite | EVE_DC6 Process Manager | EVE_DC6_Java_Poller
21 | EVE_DC7 | 16 | 10.137.12.183:8107 | 8107 | 8167 | D:\EVE_DC7 | 183 | DC | EVE_DC7.exe | EVE_DC7 Infrastructure Management Suite | EVE_DC7 Process Manager | EVE_DC7_Java_Poller
22 | EVE_DC8 | 17 | 10.137.12.183:8108 | 8108 | 8168 | D:\EVE_DC8 | 183 | DC | EVE_DC8.exe | EVE_DC8 Infrastructure Management Suite | EVE_DC8 Process Manager | EVE_DC8_Java_Poller
23 | EVE_DC9 | 18 | 10.137.12.183:8109 | 8109 | 8169 | D:\EVE_DC9 | 183 | DC | EVE_DC9.exe | EVE_DC9 Infrastructure Management Suite | EVE_DC9 Process Manager | EVE_DC9_Java_Poller
24 | EVE_DC10 | 19 | 10.137.12.183:8010 | 8010 | 8170 | D:\EVE_DC10 | 183 | DC | EVE_DC10.exe | EVE_DC10 Infrastructure Management Suite | EVE_DC10 Process Manager | EVE_DC10_Java_Poller
25 | EVE_DC11 | 20 | 10.137.12.183:8111 | 8111 | 8171 | D:\EVE_DC11 | 183 | DC | EVE_DC11.exe | EVE_DC11 Infrastructure Management Suite | EVE_DC11 Process Manager | EVE_DC11_Java_Poller
26 | EVE_DC12 | 21 | 10.137.12.183:8112 | 8112 | 8172 | D:\EVE_DC12 | 183 | DC | EVE_DC12.exe | EVE_DC12 Infrastructure Management Suite | EVE_DC12 Process Manager | EVE_DC12_Java_Poller
27 | EVE_DC13 | 22 | 10.137.12.183:8113 | 8113 | 8173 | D:\EVE_DC13 | 183 | DC | EVE_DC13.exe | EVE_DC13 Infrastructure Management Suite | EVE_DC13 Process Manager | EVE_DC13_Java_Poller
28 | EVE_DC14 | 23 | 10.137.12.183:8114 | 8114 | 8174 | D:\EVE_DC14 | 183 | DC | EVE_DC14.exe | EVE_DC14 Infrastructure Management Suite | EVE_DC14 Process Manager | EVE_DC14_Java_Poller
29 | EVE_DC15 | 24 | 10.137.12.183:8115 | 8115 | 8175 | D:\EVE_DC15 | 183 | DC | EVE_DC15.exe | EVE_DC15 Infrastructure Management Suite | EVE_DC15 Process Manager | EVE_DC15_Java_Poller
30 | EVE_DC_RTU | 50 | 10.137.12.184:8110 | 8110 | 8150 | D:\EVE_DC_RTU | 184 | DC Large | EVE_DC_RTU.exe | EVE_DC_RTU Infrastructure Management Suite | EVE_DC_RTU Process Manager | EVE_DC_RTU_JAVA_Poller
31 | EVE_DC_MEDIUM | 56 | 10.137.12.184:8111 | 8111 | 8151 | D:\EVE_DC_MEDIUM | 184 | DC Medium | EVE_DC_MEDIUM.exe | EVE_DC_MEDIUM Infrastructure Management Suite | EVE_DC_MEDIUM Process Manager | EVE_DC_MEDIUM_Java_Poller
32 | EVE_DC16_V3 | 11 | 10.137.12.184.8116 | 8116 | 8161 | D:\EVE_DC16_V3 | 184 | DC | EVE_DC16_V3.exe | EVE_DC16_V3 Infrastructure Management Suite | EVE_DC16_V3 Process Manager | EVE_DC16_V3_JAVA_Poller
33 | EVE_DC17_V3 | 25 | 10.137.12.184.8117 | 8117 | 8162 | D:\EVE_DC17_V3 | 184 | DC | EVE_DC17_V3.exe | EVE_DC17_V3 Infrastructure Management Suite | EVE_DC17_V3 Process Manager | EVE_DC17_V3_JAVA_Poller
34 | EVE_DC18_V3 | 26 | 10.137.12.184.8118 | 8118 | 8172 | D:\EVE_DC18_V3 | 184 | DC | EVE_DC18_V3.exe | EVE_DC18_V3 Infrastructure Management Suite | EVE_DC18_V3 Process Manager | EVE_DC18_V3_JAVA_Poller
35 | EVE_DC19 | 34 | 10.137.12.184.8119 | 8119 | 8164 | D:\EVE_DC19 | 184 | DC | EVE_DC19.exe | EVE_DC19 Infrastructure Management Suite | EVE_DC19 Process Manager | EVE_DC19_JAVA_Poller
36 | EVE_DC20 | 36 | 10.137.12.184.8120 | 8120 | 8173 | D:\EVE_DC20 | 184 | DC | EVE_DC20.exe | EVE_DC20 Infrastructure Management Suite | EVE_DC20 Process Manager | EVE_DC20_JAVA_Poller
37 | EVE_DC21 | 37 | 10.137.12.184.8121 | 8121 | 8166 | D:\EVE_DC21 | 184 | DC | EVE_DC21.exe | EVE_DC21 Infrastructure Management Suite | EVE_DC21 Process Manager | EVE_DC21_JAVA_Poller
38 | EVE_DC22 | 38 | 10.137.12.184.8122 | 8122 | 8167 | D:\EVE_DC22 | 184 | DC | EVE_DC22.exe | EVE_DC22 Infrastructure Management Suite | EVE_DC22 Process Manager | EVE_DC22_JAVA_Poller
39 | EVE_DC23 | 39 | 10.137.12.184.8123 | 8123 | 8168 | D:\EVE_DC23 | 184 | DC | EVE_DC23.exe | EVE_DC23 Infrastructure Management Suite | EVE_DC23 Process Manager | EVE_DC23_JAVA_Poller
40 | EVE_DC24 | 40 | 10.137.12.184.8124 | 8124 | 8169 | D:\EVE_DC24 | 184 | DC | EVE_DC24.exe | EVE_DC24 Infrastructure Management Suite | EVE_DC24 Process Manager | EVE_DC24_JAVA_Poller
41 | EVE_DC25 | 41 | 10.137.12.184.8125 | 8125 | 8170 | D:\EVE_DC25 | 184 | DC | EVE_DC25.exe | EVE_DC25 Infrastructure Management Suite | EVE_DC25 Process Manager | EVE_DC25_JAVA_Poller
42 | EVE_DC26 | 42 | 10.137.12.184.8126 | 8126 | 8171 | D:\EVE_DC26 | 184 | DC | EVE_DC26.exe | EVE_DC26 Infrastructure Management Suite | EVE_DC26 Process Manager | EVE_DC26_JAVA_Poller
43 | EVE_DC27 | 51 | 10.137.12.184.8127 | 8127 | 8400 | D:\EVE_DC27 | 184 | DC | EVE_DC27.exe | EVE_DC27 Infrastructure Management Suite | EVE_DC27 Process Manager | EVE_DC27_JAVA_Poller
44 | EVE_DC28 | 52 | 10.137.12.184.8128 | 8128 | 7173 | D:\EVE_DC28 | 184 | DC | EVE_DC28.exe | EVE_DC28 Infrastructure Management Suite | EVE_DC28 Process Manager | EVE_DC28_JAVA_Poller
45 | EVE_DC29 | 57 | 10.137.12.184.8129 | 8129 | 8174 | D:\EVE_DC29 | 184 | DC | EVE_DC29.exe | EVE_DC29 Infrastructure Management Suite | EVE_DC29 Process Manager | EVE_DC29_JAVA_Poller
46 | EVE_DC30 | 53 | 10.137.12.184.8130 | 8130 | 8175 | D:\EVE_DC30 | 184 | DC | EVE_DC30.exe | EVE_DC30 Infrastructure Management Suite | EVE_DC30 Process Manager | EVE_DC_30_JAVA_Poller
47 | EVE_DC31_V3 | 54 | 10.137.12.184.8131 | 8131 | 8176 | D:\EVE_DC31 | 184 | DC | EVE_DC31_V3.exe | EVE_DC31_V3 Infrastructure Management Suite | EVE_DC31_V3 Process Manager | EVE_DC31_V3_JAVA_Poller
48 | EVE_DC32_V3 | 55 | 10.137.12.184.8132 | 8132 | 8177 | D:\EVE_DC32 | 184 | DC | EVE_DC32_V3.exe | EVE_DC32_V3 Infrastructure Management Suite | EVE_DC32_V3 Process Manager | EVE_DC32_V3_JAVA_Poller
49 | EVE_DC33 | 58 | 10.137.12.184:8133 | 8133 | 8178 | D:\EVE_DC33 | 184 | DC | EVE_DC33.exe | EVE_DC33 Infrastructure Management Suite | EVE_DC33 Process Manager | EVE_DC33_JAVA_Poller
50 | EVE_DC34 | 59 | 10.137.12.184:8134 | 8134 | 8179 | D:\EVE_DC34 | 184 | DC | EVE_DC34.exe | EVE_DC34 Infrastructure Management Suite | EVE_DC34 Process Manager | EVE_DC34_JAVA_Poller
51 | EVE_DC35 | 60 | 10.137.12.184:8135 | 8135 | 8180 | D:\EVE_DC35 | 184 | DC | EVE_DC35.exe | EVE_DC35 Infrastructure Management Suite | EVE_DC35 Process Manager | EVE_DC35_JAVA_Poller
52 | EVE_DC36 | 61 | 10.137.12.184:8136 | 8136 | 8181 | D:\EVE_DC36 | 184 | DC | EVE_DC36.exe | EVE_DC36 Infrastructure Management Suite | EVE_DC36 Process Manager | EVE_DC36_JAVA_Poller
53 | EVE_DC37 | 62 | 10.137.12.184:8137 | 8137 | 8182 | D:\EVE_DC37 | 184 | DC | EVE_DC37.exe | EVE_DC37 Infrastructure Management Suite | EVE_DC37 Process Manager | EVE_DC37_JAVA_Poller
54 | EVE_DC38 | 63 | 10.137.12.184:8138 | 8138 | 8183 | D:\EVE_DC38 | 184 | DC | EVE_DC38.exe | EVE_DC38 Infrastructure Management Suite | EVE_DC38 Process Manager | EVE_DC38_JAVA_Poller
55 | EVE_DC39 | 64 | 10.137.12.184:8139 | 8139 | 8184 | D:\EVE_DC39 | 184 | DC | EVE_DC39.exe | EVE_DC39 Infrastructure Management Suite | EVE_DC39 Process Manager | EVE_DC39_JAVA_Poller
56 | EVE_DC40 | 65 | 10.137.12.184:8140 | 8140 | 8185 | D:\EVE_DC40 | 184 | DC | EVE_DC40.exe | EVE_DC40 Infrastructure Management Suite | EVE_DC40 Process Manager | EVE_DC40_JAVA_Poller
57 | EVE_DC41 | 66 | 10.137.12.184:8141 | 8141 | 8186 | D:\EVE_DC41 | 184 | DC | EVE_DC41.exe | EVE_DC41 Infrastructure Management Suite | EVE_DC41 Process Manager | EVE_DC41_JAVA_Poller
58 | EVE_DC42 | 67 | 10.137.12.184:8142 | 8142 | 8187 | D:\EVE_DC42 | 184 | DC | EVE_DC42.exe | EVE_DC42 Infrastructure Management Suite | EVE_DC42 Process Manager | EVE_DC42_JAVA_Poller
59 | EVE_DC43 | 68 | 10.137.12.184:8143 | 8143 | 8188 | D:\EVE_DC43 | 184 | DC | EVE_DC43.exe | EVE_DC43 Infrastructure Management Suite | EVE_DC43 Process Manager | EVE_DC43_JAVA_Poller
60 | EVE_DC44 | 69 | 10.137.12.184:8144 | 8144 | 8089 | D:\EVE_DC44 | 184 | DC | EVE_DC44.exe | EVE_DC44 Infrastructure Management Suite | EVE_DC44 Process Manager | EVE_DC44_JAVA_Poller
61 | EVE_DC45 | 70 | 10.137.12.184:8145 | 8145 | 8190 | D:\EVE_DC45 | 184 | DC | EVE_DC45.exe | EVE_DC45 Infrastructure Management Suite | EVE_DC45 Process Manager | EVE_DC45_JAVA_Poller
62 | EVE_DC46 | 71 | 10.137.12.184:8146 | 8146 | 8191 | D:\EVE_DC46 | 184 | DC | EVE_DC46.exe | EVE_DC46 Infrastructure Management Suite | EVE_DC46 Process Manager | EVE_DC46_JAVA_Poller
63 | EVE_DC47 | 72 | 10.137.12.184:8147 | 8147 | 8192 | D:\EVE_DC47 | 184 | DC | EVE_DC47.exe | EVE_DC47 Infrastructure Management Suite | EVE_DC47 Process Manager | EVE_DC47_JAVA_Poller
64 | EVE_DC48_V3 | 73 | 10.137.12.184:8148 | 8148 | 8193 | D:\EVE_DC48_V3 | 184 | DC | EVE_DC48_V3.exe | EVE_DC48_V3 Infrastructure Management Suite | EVE_DC48_V3 Process Manager | EVE_DC48_V3_JAVA_Poller
65 | EVE_DC49_V3 | 74 | 10.137.12.184:8149 | 8149 | 8194 | D:\EVE_DC49_V3 | 184 | DC | EVE_DC49.exe | EVE_DC49_V3 Infrastructure Management Suite | EVE_DC49_V3 Process Manager | EVE_DC49_V3_JAVA_Poller
66 | EVE_DC_FC | 75 | 10.137.12.183:8118 | 8116 | 8176 | D:\EVE_DC_FC | 183 | DC | EVE_DC_FC.exe | EVE_DC_FC Infrastructure Management Suite | EVE_DC_FC Process Manager | EVE_DC_FC_JAVA_Poller
67 | EVE_DC50 |  |  | 8150 | 8195 |  | 184 |  | EVE_DC50.exe
Under Process…

## DC Nodes Count
S.No. | processname | processid | cnt
1 | Presentation | 1 | 4
2 | EVE_DC1 | 2 | 1399
3 | EVE_DC2 | 3 | 1300
4 | EVE_DC16_V3 | 11 | 1260
5 | EVE_DC3 | 12 | 1199
6 | EVE_DC4 | 13 | 1294
7 | EVE_DC5 | 14 | 1186
8 | EVE_DC6 | 15 | 1195
9 | EVE_DC7 | 16 | 1200
10 | EVE_DC8 | 17 | 1198
11 | EVE_DC9 | 18 | 1395
12 | EVE_DC10 | 19 | 1200
13 | EVE_DC11 | 20 | 1198
14 | EVE_DC12 | 21 | 1199
15 | EVE_DC13 | 22 | 1197
16 | EVE_DC14 | 23 | 1199
17 | EVE_DC15 | 24 | 1200
18 | EVE_DC17_V3 | 25 | 1754
19 | EVE_DC18_V3 | 26 | 1199
20 | EVE_DC19 | 34 | 1197
21 | EVE_DC20 | 36 | 1299
22 | EVE_DC21 | 37 | 1198
23 | EVE_DC22 | 38 | 1399
24 | EVE_DC23 | 39 | 1198
25 | EVE_DC24 | 40 | 1298
26 | EVE_DC25 | 41 | 1197
27 | EVE_DC26 | 42 | 1199
28 | EVE_DC_RTU | 50 | 381
29 | EVE_DC27 | 51 | 1200
30 | EVE_DC28 | 52 | 1199
31 | EVE_DC30 | 53 | 1200
32 | EVE_DC31_V3 | 54 | 1307
33 | EVE_DC32_V3 | 55 | 872
34 | EVE_DC_MEDIUM | 56 | 362
35 | EVE_DC29 | 57 | 1200
36 | EVE_DC33 | 58 | 613
37 | EVE_DC34 | 59 | 1361
38 | EVE_DC35 | 60 | 1195
39 | EVE_DC36 | 61 | 1196
40 | EVE_DC37 | 62 | 1254
41 | EVE_DC38 | 63 | 1200
42 | EVE_DC39 | 64 | 1199
43 | EVE_DC40 | 65 | 1197
44 | EVE_DC41 | 66 | 1281
45 | EVE_DC42 | 67 | 1259
46 | EVE_DC43 | 68 | 1302
47 | EVE_DC44 | 69 | 1296
48 | EVE_DC45 | 70 | 640
49 | EVE_DC46 | 71 | 1276
50 | EVE_DC48_V3 | 73 | 673
51 | EVE_DC_FC | 75 | 1
52 | EVE_DC50

## Facilities & Venders
SITE TYPE | FACILITY / VENDOR | EMERSON | DELTA | GE | ELTEK | BALLARD | DATA COLLECTOR
LARGE | AG3 | YES | YES | NA | NA | NA | EVE_DC_RTU
LARGE | AG2+OTN | YES | YES | NA | NA | NA | EVE_DC_RTU
LARGE | SAG2 | YES | YES | NA | NA | NA | EVE_DC_RTU
MEDIUM | NLD AG2 | YES | NA | YES | NA | NA | EVE_DC_MEDIUM
MEDIUM | Metro AG2 | YES | NA | YES | NA | NA | EVE_DC_MEDIUM
SMALL | GBM | YES | YES | YES | YES | YES | EVE_DCx
SMALL | GBM-Colo | YES | YES | YES | YES | NA | EVE_DCx
SMALL | NLD AG1 | YES | YES | YES | YES | NA | EVE_DCx
SMALL | ILA Colo | YES | YES | YES | YES | NA | EVE_DCx
SMALL | Metro AG1 | YES | YES | YES | YES | NA | EVE_DCx
SMALL | ILA Own | YES | YES | YES | NA | NA | EVE_DCx

## DeviceViewConfig
S.No. | Facility_Type/ Vendor | EMERSON | DELTA | GE | ELTEK | BALLARD
1 | AG3 | Chiller | BMSModule | NA | NA | NA
|  | DGController | BMSSysParams
|  | DGEnergyMeter | SMPS
PAC
2 | SAG2 | Chiller | BMSModule | NA | NA | NA
|  | DGController | BMSSysParams
|  | DGEnergyMeter | SMPS
PAC
3 | AG2+OTN | Chiller | BMSModule | NA | NA | NA
|  | DGController | BMSSysParams
|  | DGEnergyMeter | SMPS
PAC
4 | METRO AG2 | BMSModule | NA | BMSModule | NA | NA
|  | BMSSysParams |  | BMSSysParams
|  | SMPS |  | SMPS
|  | EnergyMeter |  | EnergyMeter
5 | NLD AG2 | BMSModule | NA | BMSModule | NA | NA
|  | BMSSysParams |  | BMSSysParams
|  | SMPS |  | SMPS
|  | EnergyMeter |  | EnergyMeter
6 | GBM | BMSModule | BMSModule | BMSModule | BMSModule | Fuel Cell
|  | BMSSysParams | BMSSysParams | BMSSysParams | BMSSysParams
|  | SMPS | SMPS | SMPS | SMPS
|  | DG | DG | DG | DG
7 | GBM COLO | BMSModule | BMSModule | BMSModule | BMSModule | NA
|  | BMSSysParams | BMSSysParams | BMSSysParams | BMSSysParams
|  | SMPS | SMPS | SMPS | SMPS
|  | EnergyMeter | EnergyMeter | DG | EnergyMeter
|  | DG | DG
8 | METRO AG1 | BMSModule | BMSModule | BMSModule | BMSModule | NA
|  | BMSSysParams | BMSSysParams | BMSSysParams | BMSSysParams
|  | SMPS | SMPS | SMPS | SMPS
|  | EnergyMeter | EnergyMeter | EnergyMeter | EnergyMeter
|  | DG | DG | DG | DG
9 | NLD AG1 | BMSModule | BMSModule | BMSModule | BMSModule | NA
|  | BMSSysParams | BMSSysParams | BMSSysParams | BMSSysParams
|  | SMPS | SMPS | SMPS | SMPS
|  | EnergyMeter | EnergyMeter | EnergyMeter | EnergyMeter
|  | DG | DG
10 | ILA COLO | BMSModule | BMSModule | BMSModule | BMSModule | NA
|  | BMSSysParams | BMSSysParams | BMSSysParams | BMSSysParams
|  | SMPS | SMPS | SMPS | SMPS
|  | EnergyMeter | EnergyMeter | DG | EnergyMeter
|  | DG | DG
11 | ILA OWN | BMSModule | NO VIEW | NO VIEW | NA | NA
BMSSysParams
SMPS
EnergyMeter
DG

## Scannerapi
S.No. | Vendor | Scannerapi Module | ObjectID | Resource | cfg | AG3 | SAG2 | AG2+OTN | NLD AG2 | Metro AG2 | GBM | GBM-Colo | NLD AG1 | ILA Colo | Metro AG1 | ILA Own | COUNT
facility _type
[5 empty] | ping.cfg | y | y | y | y | y | y | y | y | y | y | y | 11
1 | EMERSON | rtuag3scannerapi.py | enterprises.13400.2.1 | Chiller | rtuag3chiller.cfg | y | y | y | [8 empty] | 3
|  |  |  | DG Controller | rtuag3dgcontroller.cfg | y | y | y | [8 empty] | 3
|  |  |  | DG Energy Meter | rtuag3dgenergymeter.cfg | y | y | y | [8 empty] | 3
|  |  |  | PAC | rtuag3pac.cfg | y | y | y | [8 empty] | 3
|  |  |  | Device | device.cfg | y | y | y | [8 empty] | 3
|  | emersonscannerapi.py | enterprises.6302.2.1 | Energy Meter | emersonag2energymeter.cfg | y | y |  | y | y | y | y | y |  |  |  | 7
|  |  |  | SMPS | emersonag2smps.cfg | y | y |  | y | y | y | y | y |  |  |  | 7
|  |  |  | DG | emersononlygbmdg.cfg | [5 empty] | y | [5 empty] | 1
|  |  |  | DG | emersononlymetroag1dg.cfg | [9 empty] | y |  | 1
|  |  |  | DG | emersongbmdg.cfg | [6 empty] | y | y | y |  | y | 4
|  |  |  | Energy Meter | emersongbmenergymeter.cfg | [5 empty] | y | y | y | y | y | y | 6
|  |  |  | SMPS | emersongbmsmps.cfg | [5 empty] | y | y | y | y | y | y | 6
|  |  |  | System Parameter | emersongbmsystemparams.cfg | y | y |  | y | y | y | y | y | y | y | y | 10
|  |  |  | Module | emersonmodule.cfg | y | y |  | y | y | y | y | y | y | y | y | 10
|  |  |  | Invertor | emersonag2Invertor.cfg | y | y | y | [8 empty] | 3
2 | DELTA | deltaag3scannerapi.py | enterprises.40288.1.2 | Module | deltaag3bmsmodule.cfg | y | y | y |  |  | y | [5 empty] | 4
|  |  |  | System Parameter | deltaag3bmssystemparams.cfg | y | y | y |  |  | y | [5 empty] | 4
|  |  |  | SMPS | deltaag3smps.cfg | y | y | y |  |  | y | [5 empty] | 4
|  | deltagbmscannerapi.py | enterprises.40288.1 | Module | deltagbmbmsmodule.cfg | y | y |  |  |  | y | y | y | y | y | y | 8
|  |  |  | System Parameter | deltagbmbmssystemparams.cfg | y | y |  |  |  | y | y | y | y | y | y | 8
|  |  |  | DG | deltaonlymetroag1dg.cfg | [9 empty] | y |  | 1
|  |  |  | DG | deltaonlygbmdg.cfg | [5 empty] | y | [5 empty] | 1
|  |  |  | DG | deltagbmdg.cfg | y | y |  |  |  |  | y | y | y |  | y | 6
|  |  |  | Energy Meter | deltagbmenergymeter.cfg | y | y |  |  |  | y | y | y | y | y | y | 8
|  |  |  | SMPS | deltagbmsmps.cfg | y | y |  |  |  | y | y | y | y | y | y | 8
3 | GE | geag2scannerapi.py | enterprises.10520.3.1.2 | Module | geag2bmsmodule.cfg |  |  |  | y | y | y | y |  |  |  |  | 4
|  |  |  | System Parameter | geag2bmssystemparams.cfg |  |  |  | y | y | y | y |  |  |  |  | 4
|  |  |  | Energy Meter | geag2energymeter.cfg |  |  |  | y | y | y | y |  |  |  |  | 4
|  |  |  | SMPS | geag2smps.cfg |  |  |  | y | y | y | y |  |  |  |  | 4
|  | gegbmscannerapi.py | enterprises.10520.3.1.1 | Energy Meter | gegbmenergymeter.cfg | [5 empty] | y | y | y | y | y | y | 6
|  |  |  | Module | gegbmmodule.cfg | [5 empty] | y | y | y | y | y | y | 6
|  |  |  | DG | geonlygbmdg.cfg | [5 empty] | y | [5 empty] | 1
|  |  |  | SMPS | gegbmsmps.cfg | [5 empty] | y | y | y | y | y | y | 6
|  |  |  | DG | geonlymetroag1dg.cfg | [9 empty] | y |  | 1
|  |  |  | System Parameter | gegbmsystemparams.cfg | [5 empty] | y | y | y | y | y | y | 6
4 | ELTEK | eltekgbmscannerapi.py | enterprises.12148.10 | Energy Meter | eltekgbmenergymeter.cfg | [5 empty] | y | y | y | y | y |  | 5
|  |  |  | Module | eltekgbmmodule.cfg | [5 empty] | y | y | y | y | y |  | 5
|  |  |  | SMPS | eltekgbmsmps.cfg | [5 empty] | y | y | y | y | y |  | 5
|  |  |  | DG | eltekonlymetroag1dg.cfg | [9 empty] | y |  | 1
|  |  |  | DG | eltekonlygbmdg.cfg | [5 empty] | y | [5 empty] | 1
|  |  |  | System Parameter | eltekgbmsystemparams.cfg | [5 empty] | y | y | y | y | y |  | 5
5 | BALLARD | ballardscannerapi.py | .iso.org.36466.1.3.0 | FuelCell | ballardfuelcell.cfg | y | y | y | y | y | y | y | y | y | y | y | 11

## Resources
| Large |  | Medium |  |  | Small
vendor | Emerson | Delta | Emerson | GE | Delta | Emerson | Delta | GE | Eltek | GE | Eltek | Emerson | Delta
Facility Types | AG3 / AG2+OTN / SAG2(RTU) | AG3 / AG2+OTN / SAG2 | NLDAG2 / Metro AG2 | NLD AG2 / Metro AG2 | Metro AG2 | GBM / GBM-Colo / NLD AG1 / ILA Colo / Metro AG1 / ILA Own | GBM / GBM-Colo / NLD AG1 / ILA Colo / Metro AG1 / ILA Own | GBM-Colo / NLD AG1 / ILA Colo / ILA Own | GBM-Colo / NLD AG1 / ILA Colo | GBM / Metro AG1 | GBM / Metro AG1 | GBM | GBM
1 | PING | PING | PING | PING | PING | PING | PING | PING | PING | PING | PING | PING | PING
2 | eStone | Module1 | Module1 | Module1 | Module1 | Module1 | Module1 | Module1 | Module1 | Module1 | Module1 | Module1 | Module1
3 | CHILLER1 | Module2 | Module2 | Module2 | Module2 | Module2 | Module2 | Module2 | Module2 | Module2 | Module2 | Module2 | Module2
4 | CHILLER2 | Module3 | Module3 | Module3 | Module3 | Module3 | Module3 | Module3 | Module3 | Module3 | Module3 | Module3 | Module3
5 | CHILLER3 | Module4 | Module4 | Module4 | Module4 | Module4 | Module4 | Module4 | Module4 | Module4 | Module4 | Module4 | Module4
6 | CHILLER4 | Module5 | Module5 | Module5 | Module5 | Module5 | Module5 | Module5 | Module5 | Module5 | Module5 | Module5 | Module5
7 | CHILLER5 | Module6 | Module6 | Module6 | Module6 | Module6 | Module6 | Module6 | Module6 | Module6 | Module6 | Module6 | Module6
8 | DG1_CONTROLLER | Module7 | Module7 | Module7 | Module7 | Module7 | Module7 | Module7 | Module7 | Module7 | Module7 | Module7 | Module7
9 | DG1_ENERGYMETER | Module8 | Module8 | Module8 | BMS_system_Parameter | BMS_system_Parameter | BMS_system_Parameter | BMS_system_Parameter | BMS_system_Parameter | BMS_system_Parameter | BMS_system_Parameter | Module8 | Module8
10 | DG2_CONTROLLER | Module9 | Module9 | BMS_system_Parameter | Energymeter | Energymeter | Energymeter | Energymeter | Energymeter | Energymeter | Energymeter | Module9 | Module9
11 | DG2_ENERGYMETER | Module10 | Module10 | Energymeter | SMPS | SMPS | SMPS | SMPS | SMPS | SMPS | SMPS | Module10 | Module10
12 | DG3_CONTROLLER | Module11 | Module11 | SMPS | DG | DG | DG |  |  | DG | DG | Module11 | Module11
13 | DG3_ENERGYMETER | Module12 | Module12 | [8 empty] | Module12 | Module12
14 | DG4_CONTROLLER | Module13 | Module13 | [8 empty] | Module13 | Module13
15 | DG4_ENERGYMETER | Module14 | Module14 | [8 empty] | Module14 | Module14
16 | DG5_CONTROLLER | Module15 | Module15 | [8 empty] | Module15 | Module15
17 | DG5_ENERGYMETER | BMS_system_Parameter | BMS_system_Parameter | [8 empty] | BMS_system_Parameter | BMS_system_Parameter
18 | DG6_CONTROLLER | SMPS | Energymeter | [8 empty] | Energymeter | SMPS
19 | DG6_ENERGYMETER |  | SMPS | [8 empty] | SMPS
20 | PAC1
21 | PAC2
22 | PAC3
23 | PAC4
24 | PAC5
25 | PAC6
26 | PAC7
27 | PAC8
28 | PAC9
29 | PAC10
30 | PAC11
31 | PAC12
32 | PAC13
33 | PAC14
34 | PAC15
35 | PAC16
36 | PAC17
37 | PAC18
38 | PAC19
39 | PAC20
40 | HT_ENERGYMETER_1
41 | HT_ENERGYMETER_2
42 | SEB_ENERGYMETER_1
43 | SEB_ENERGYMETER_2

## Statistics
Statid | rawdn | Name | Unit | Details
1 | avail | Availability | %
2 | v_latency | Latency | msec
3 | pakloss | Packet Loss | %
4 | downtime | DownTime | sec | RHDM
5 | unknowntime | UnknownTime | sec | NULL
6 | businessdowntime | Business Downtime | sec | NULL
7 | businessunknowntime | Business Unknown Time | sec | NULL
8 | downtimefrequency | Down Frequency |  | NULL
9 | d_avail | Device Availability | %
10 | uptime_hr | System Uptime | timetick
11 | health | Health | %
12 | outage | Outage | sec
13 | conPts | Current Conformance
14 | nonconPts | Current NonConformance
15 | unKnown | Current Unknown
16 | outagePts | Current Outage
17 | SLACompliance | Current SLA Compliance | %
18 | totalconPts | Total Conformance
19 | totalnonconPts | Total NonConformance
20 | totalunKnown | Total Unknown
21 | totaloutagePts | Total Outage
22 | totalSLACompliance | Total SLA Compliance | %
23 | buss_outage | Bussiness Outage | sec
24 | m_cc | Charging Current | Amps
25 | m_soc | SOC | %
26 | m_soh | SOH | %
27 | m_temp | Module Max Temperture | Deg
28 | m_volt | Module Voltage | Volts
29 | part_no | Battery Part No
30 | sr_no | Battery Sr No
31 | des_cap | Battery Design Capacity | Ah
32 | dc_volt | DC Voltage | Volts
33 | dc_curr | DC Current | Amps
34 | dc_kwh | DC KWH | KWh
35 | load_curr | Load Current | Amps
36 | batt_curr | Battery Current | Amps
37 | num_rectifier | No of rectifiers powered up
38 | inp_lineA_vol | Input Line A Voltage | Volts
39 | inp_lineB_vol | Input Line B Voltage | Volts
40 | inp_lineC_vol | Input Line C Voltage | Volts
41 | inp_lineA_cur | Input Line A Current | Amps
42 | inp_lineB_cur | Input Line B Current | Amps
43 | inp_lineC_cur | Input Line C Current | Amps
44 | main_cum_kwh | Mains Cumulative KWh | KWh
45 | main_cum_run_hr | Mains Cumulative Run Hrs | Hrs
46 | batt_cum_kwh | Battery Cumulative KWh | KWh
47 | batt_cum_run_hr | Battery Cumulative Run Hrs | Hrs
48 | batt_dis_cycle | Battery Discharge Cycle
49 | dc_op_pow | DC Output Power | KW
50 | load_cumm_kwh | Load Cumulative KWh | KWh
51 | float_voltage | Float Voltage | Volts
52 | cc_curr_lmt | Charge Current Limit | Amps
53 | blvd_volt | BLVD Voltage | Volts
54 | amb_hi_temp_thr | Ambient High Temperature Threshold | Deg
55 | mm_max_ch_cl | Module max charge current limit | Amps
56 | ins_mam_mod_cur | Instantaneous maximum module current | Amps
57 | max_dis_cur_mod | Maximum Discharge Current of module | Amps
58 | rem_ah_bank | Remaining AH of the Bank | Ah
59 | num_ins_mod | Number of Installed Modules
60 | num_act_mod | Number of Active Modules
61 | dg_kwh | DG KWH | KWh
62 | dg_runhr | DG Run Hours | Hrs | RHDM_SnapShot
63 | pow_kw_rcom_smps | Power KW_RCOM SMPS | KW
64 | ene_kwh_rcom_smps | Energy KWh_RCOM SMPS | KWh
65 | pow_kw_rjio_smps | Power KW_RJIO SMPS | KW
66 | ene_kwh_rjio_smps | Energy KWh_RJIO SMPS | KWh
67 | pow_kw_amfpl_main | Power KW_AMF Panel Mains | KW
68 | ene_kwh_amfpl_main | Energy KWh_AMF Panel Mains | KWh
69 | pow_kw_amfpl_dg | Power KW_AMF Panel DG | KW
70 | ene_kwh_amfpl_dg | Energy KWh_AMF Panel DG | KWh
71 | ene_kwh_rcom_smps_virtual | Energy KWh_RCOM SMPS Virtual | KWh | NULL
72 | ene_kwh_rjio_smps_virtual | Energy KWh_RJIO SMPS Virtual | KWh | NULL
73 | ene_kwh_amfpl_main_virtual | Energy KWh_AMF Panel Mains Virtual | KWh | NULL
74 | ene_kwh_amfpl_dg_virtual | Energy KWh_AMF Panel DG Virtual | KWh | NULL
75 | ene_kwh_facility_common_load | Energy KWh_Facility Common Load |  | NULL
76 | ene_kwh_facility_common_load_bill_rjio | Energy KWh_Facility Common Load billable to RJIO |  | NULL
77 | total_ene_kwh_bill_rjio | Total Energy KWh_billable to RJIO |  | NULL
78 | temp_1 | Temperature 1 | Deg
79 | temp_2 | Temperature 2 | Deg
80 | derived_uptime | Total Uptime | timetick | NULL
81 | slapbh_uptime | Total PBH Uptime | timetick | NULL
82 | slaesh_uptime | Total ESH Uptime | timetick | NULL
83 | m_dcc | Discharging Current | Amps
84 | cum_battery_charge | Cumulative battery charge Ah
85 | pow_kw_seb | Power KW_SEB | KW
86 | ene_kwh_seb | Energy KWh_SEB | KWh
87 | pow_kw_dg | Power KW_DG | KW
88 | ene_kwh_dg | Energy KWh_DG | KWh
89 | ip_addr | IP Address
90 | ch_wat_inl_temp_deg | Chilled Water Inlet Temperature_Deg C | DEG C
91 | ch_wat_outl_temp_deg | Chilled Water Outlet Temperature_Deg C | DEG C
92 | chi_per_rla | Chiller percent RLA | RLA
93 | sec_pum_vfd | Secondary Pump VFD Speed Feedback
94 | sec_pum_mtr_curr | Secondary Pump Motor current [VFD] | Amp
95 | sec_pum_mtr_kw | Secondary Pump Motor KW [VFD] | kw
96 | cond_inl_temp | Condenser Inlet Temperature | DEG C
97 | cond_outl_temp | Condenser Outlet Temperature | DEG C
98 | cond_ref_temp | Condenser Refrigerant Temperature | DEG C
99 | cond_ref_pre | Condenser Refrigerant Pressure | kpa
100 | eva_ref_temp | Evaporator Refrigerant Temperature | DEG C
101 | eva_ref_pre | Evaporator Refrigerant Pressure | kpa
102 | lube_oil_pre | Lube Oil Pressure_kpa | kpa
103 | ch_alt_volt_v | Charging Alternator Voltage(DC)_V | Volt
104 | ch_alt_volt | Charging Alternator Voltage | Volt
105 | lm_ac_p1_nv | Load Manager_AC Phase1 to N Voltage_V | Volt
106 | lm_ac_p2_nv | Load Manager_AC Phase2 to N Voltage_V | Volt
107 | lm_ac_p3_nv | Load Manager_AC Phase3 to N Voltage_V | Volt
108 | lm_ac_p1_cur | Load Manager_AC phase1 Current_A | Amps
109 | lm_ac_p2_cur | Load Manager_AC phase2 Current_A | Amps
110 | lm_ac_p3_cur | Load Manager_AC phase3 Current_A | Amps
111 | lm_act_pow | Load Manager_Active Power_Kw | KW
112 | lm_rea_pow | Load Manager_Reactive Power_KVAr | KVAr
113 | lm_app_pow | Load Manager_Apparent Power_KVA | KVA
114 | lm_pow_fac | Load Manager_Power Factor
115 | lm_freq | Load Manager_Frequency_HZ | Hz
116 | lm_app_energy | Load Manager_Apparent Energy_KVAh | KVAh
117 | lm_act_energy | Load Manager_Active Energy_KWH | KWh
118 | lm_reac_energy_lag | Load Manager_Reactive Energy Lag_KVArh | KVArh
119 | lm_reac_energy_lead | Load Manager_Reactive Energy Lead_KVArh | KVArh
120 | ret_air_temp | Return Air Temperature_Deg C | Deg
121 | ret_air_rel_hum | Return Air Relative Humidity_Percentage | %
122 | supp_air_temp | Supply Air Temperature_Deg C | Deg
123 | supp_air_rel_hum | Supply Air Relative Humidity_Percentage | %
124 | fan_speed_per | Fan Speed_Percentage | %
125 | unit_run_hours | Unit Run Hours_Hrs | Hrs
126 | overall_alarm_thr | Overload Alarm Threshold | Amps
127 | dg_fuel_cons | DG Fuel Consumption | Litres
128 | raw2 | Thread Count
129 | raw3 | Virtual Bytes | *bytes
130 | everestuptime_hr | Everest Uptime | timetick
131 | DBConn | DB Connection | %
132 | raw4 | Used DBPool Connections
133 | raw5 | Free DBPool Connections
134 | raw6 | Total DBPool Connections
135 | MAXClockThread | MAX Clock Thread | %
136 | PollerThread | Poller Thread | %
137 | SNMPTrapListenerThread | SNMP Trap Listener Thread | %
138 | wmi_thread_count | WMI Thread Count
182 | main_energy_consumed | Main Energy Consumption | KWh | NULL
183 | dg_consumed | DG Consumption | KWh | NULL
184 | dc_consumed | DC Consumption | KWh | RHDM
185 | SEB_energy_consumed | SEB Energy Consumption | KWh | RHDM
186 | act_energy_consumed | Active Energy Consumption | KWh | RHDM
187 | DG_energy_consumed | DG Energy Consumption | KWh | RHDM
188 | DG_run_hours | DG Running Hours | Hrs | RHDM
189 | smps_ac_energy_consumed_rcom | SMPS AC Energy Consumption_RCOM | KWh | RHDM
190 | smps_ac_energy_consumed_rjio | SMPS AC Energy Consumption_RJIO | KWh | RHDM
191 | pac_run_hours | PAC Running Hours | Hrs | RHDM
192 | HT_energy_consumed | HT Energy Consumption | KWh
193 | smps_ac_energy_consumed | SMPS AC Energy Consumption | KWh | RHDM
194 | DG_act_energy | DG Load Manager_Active Energy_KWH | KWh | NULL
195 | SEB_act_energy | SEB Load Manager_Active Energy_KWH | KWh | NULL
196 | inp_dc_volt | Input DC Voltage | Volts
197 | inp_dc_curr | Input DC Current | Amps
198 | ac_inp_vol_l1 | AC I/P Voltage L1 | Volts
199 | ac_inp_vol_l2 | AC I/P Voltage L2 | Volts
200 | ac_inp_vol_l3 | AC I/P Voltage L3 | Volts
201 | oup_vol_v1 | Output Voltage V1 | Volts
202 | oup_vol_v2 | Output Voltage V2 | Volts
203 | oup_vol_v3 | Output Voltage V3 | Volts
204 | oup_curr_l1 | Output Current I1 | Amps
205 | oup_curr_l2 | Output Current I2 | Amps
206 | oup_curr_l3 | Output Current I3 | Amps
207 | num_maj_alaram | Number of Major Alarm
208 | num_minor_alarm | Number of Minor Alarm
221 | dg_runhr_man | DG Run Hours Manual | Hrs
222 | dg_runhr_noload | DG Run Hours No Load | Hrs
223 | dg_fuel | DG Fuel Level | %
224 | DG_run_hours_manual | DG Running Hours Manual | Hrs | RHDM
225 | DG_run_hours_noload | DG Running Hours NoLoad | Hrs | RHDM
226 | c_util | CPU Utilization | %
227 | m_util | Memory Utilization | %
228 | vol | Throughput | bps
229 | disk1Name | Disk1
230 | S_used | Storage Used | *bytes
231 | free_space | Free Disk Space | *bytes
232 | S_used1 | Storage Used Disk1 | *bytes
233 | free_space1 | Free Disk1 Space | *bytes
234 | disk2Name | Disk2
235 | S_used2 | Storage Used Disk2 | *bytes
236 | free_space2 | Free Disk2 Space | *bytes
237 | disk3Name | Disk3
238 | S_used3 | Storage Used Disk3 | *bytes
239 | free_space3 | Free Disk3 Space | *bytes
240 | disk4Name | Disk4
241 | S_used4 | Storage Used Disk4 | *bytes
242 | free_space4 | Free Disk4 Space | *bytes
243 | disk5Name | Disk5
244 | S_used5 | Storage Used Disk5 | *bytes
245 | free_space5 | Free Disk5 Space | *bytes
246 | pow_kwr_phase | Power KW-R Phase | KW
247 | pow_kwy_phase | Power KW-Y Phase | KW
248 | pow_kwb_phase | Power KW-B Phase | KW
249 | main_cum_kwh_2 | Mains Cumulative KWh Source_2 | KWh
250 | smps_ac_energy_consumed_2 | SMPS AC Energy Consumption Source_2 | KWh | RHDM
251 | dg_fuel_ltr | DG Fuel Level(Ltr) | Litres | RHDM_SnapShot

## Sites Statistics
RTU
CHILLER | DG |  | eStone | HT | PAC | PING | SEB
Chilled Water Inlet Temperature_Deg C | DG Controller | DG Energy meter | Device Availability | HT Energy Consumption | Return Air Temperature_Deg C | Availability | SEB Energy Consumption
Chilled Water Outlet Temperature_Deg C | Lube Oil Pressure_kpa | DG Energy Consumption | System Uptime | Load Manager_AC Phase1 to N Voltage_V | Return Air Relative Humidity_Percentage |  | Load Manager_AC Phase1 to N Voltage_V
Chiller percent RLA | DG Run Hours | Load Manager_AC Phase1 to N Voltage_V |  | Load Manager_AC Phase2 to N Voltage_V | Supply Air Temperature_Deg C |  | Load Manager_AC Phase2 to N Voltage_V
Secondary Pump VFD Speed Feedback | Charging Alternator Voltage(DC)_V | Load Manager_AC Phase2 to N Voltage_V |  | Load Manager_AC Phase3 to N Voltage_V | Supply Air Relative Humidity_Percentage |  | Load Manager_AC Phase3 to N Voltage_V
Secondary Pump Motor current [VFD] | Charging Alternator Voltage | Load Manager_AC Phase3 to N Voltage_V |  | Load Manager_AC phase1 Current_A | Fan Speed_Percentage |  | Load Manager_AC phase1 Current_A
Secondary Pump Motor KW [VFD] | DG Running Hours | Load Manager_AC phase1 Current_A |  | Load Manager_AC phase2 Current_A | Unit Run Hours_Hrs |  | Load Manager_AC phase2 Current_A
Condenser Inlet Temperature | DG Fuel Level | Load Manager_AC phase2 Current_A |  | Load Manager_AC phase3 Current_A | PAC Running Hours |  | Load Manager_AC phase3 Current_A
Condenser Outlet Temperature |  | Load Manager_AC phase3 Current_A |  | Load Manager_Active Power_Kw |  |  | Load Manager_Active Power_Kw
Condenser Refrigerant Temperature |  | Load Manager_Active Power_Kw |  | Load Manager_Reactive Power_KVAr |  |  | Load Manager_Reactive Power_KVAr
Condenser Refrigerant Pressure |  | Load Manager_Reactive Power_KVAr |  | Load Manager_Apparent Power_KVA |  |  | Load Manager_Apparent Power_KVA
Evaporator Refrigerant Temperature |  | Load Manager_Apparent Power_KVA |  | Load Manager_Power Factor |  |  | Load Manager_Power Factor
Evaporator Refrigerant Pressure |  | Load Manager_Power Factor |  | Load Manager_Frequency_HZ |  |  | Load Manager_Frequency_HZ
|  | Load Manager_Frequency_HZ |  | Load Manager_Apparent Energy_KVAh |  |  | Load Manager_Apparent Energy_KVAh
|  | Load Manager_Apparent Energy_KVAh |  | Load Manager_Active Energy_KWH |  |  | Load Manager_Active Energy_KWH
|  | Load Manager_Active Energy_KWH |  | Load Manager_Reactive Energy Lag_KVArh |  |  | Load Manager_Reactive Energy Lag_KVArh
|  | Load Manager_Reactive Energy Lag_KVArh |  | Load Manager_Reactive Energy Lead_KVArh |  |  | Load Manager_Reactive Energy Lead_KVArh
|  | Load Manager_Reactive Energy Lead_KVArh |  | Active Energy Consumption |  |  | Active Energy Consumption
Active Energy Consumption
SMPS CONTROLLER
SMPS | BMS |  | PING | Energy Meter | DG
DC Voltage | BMS System Params | Module | Availability | Power KW_SEB | DG KWH
DC Current | Battery Part No | Charging Current |  | Energy KWh_SEB | DG Run Hours
DC KWH | Battery Sr No | SOC |  | Power KW_DG
Load Current | Battery Design Capacity | SOH |  | Energy KWh_DG
Battery Current | Module max charge current limit | Module Max Temperture |  | SEB Energy Consumption
No of rectifiers powered up | Instantaneous maximum module current | Module Voltage |  | DG Energy Consumption
Input Line A Voltage | Maximum Discharge Current of module
Input Line B Voltage | Remaining AH of the Bank
Input Line C Voltage | Number of Installed Modules
Temperature 1 | Number of Active Modules
Temperature 2
Mains Cumulative KWh
Mains Cumulative KWh Source_2
Mains Cumulative Run Hrs
Battery Cumulative KWh
Battery Cumulative Run Hrs
Battery Discharge Cycle
DC Output Power
Load Cumulative KWh
Float Voltage
Charge Current Limit
BLVD Voltage
Ambient High Temperature Threshold
SMPS AC Energy Consumption
SMPS AC Energy Consumption Source_2
Device Type | Resource | Statistics
RTU | Chiller | Chilled Water Inlet Temperature_Deg C
Chilled Water Outlet Temperature_Deg C
Chiller percent RLA
Secondary Pump VFD Speed Feedback
Secondary Pump Motor current [VFD]
Secondary Pump Motor KW [VFD]
Condenser Inlet Temperature
Condenser Outlet Temperature
Condenser Refrigerant Temperature
Condenser Refrigerant Pressure
Evaporator Refrigerant Temperature
Evaporator Refrigerant Pressure
| DG | DG Controller | Lube Oil Pressure_kpa
DG Run Hours
Charging Alternator Voltage(DC)_V
Charging Alternator Voltage
DG Running Hours
DG Fuel Level
|  | DG Energy Meter | DG Energy Consumption
Load Manager_AC Phase1 to N Voltage_V
Load Manager_AC Phase2 to N Voltage_V
Load Manager_AC Phase3 to N Voltage_V
Load Manager_AC phase1 Current_A
Load Manager_AC phase2 Current_A
Load Manager_AC phase3 Current_A
Load Manager_Active Power_Kw
Load Manager_Reactive Power_KVAr
Load Manager_Apparent Power_KVA
Load Manager_Power Factor
Load Manager_Frequency_HZ
Load Manager_Apparent Energy_KVAh
Load Manager_Active Energy_KWH
Load Manager_Reactive Energy Lag_KVArh
Load Manager_Reactive Energy Lead_KVArh
Active Energy Consumption
| Estone | Device Availability
System Uptime
| HT | HT Energy Consumption
Load Manager_AC Phase1 to N Voltage_V
Load Manager_AC Phase2 to N Voltage_V
Load Manager_AC Phase3 to N Voltage_V
Load Manager_AC phase1 Current_A
Load Manager_AC phase2 Current_A
Load Manager_AC phase3 Current_A
Load Manager_Active Power_Kw
Load Manager_Reactive Power_KVAr
Load Manager_Apparent Power_KVA
Load Manager_Power Factor
Load Manager_Frequency_HZ
Load Manager_Apparent Energy_KVAh
Load Manager_Active Energy_KWH
Load Manager_Reactive Energy Lag_KVArh
Load Manager_Reactive Energy Lead_KVArh
Active Energy Consumption
| PAC | Return Air Temperature_Deg C
Return Air Relative Humidity_Percentage
Supply Air Temperature_Deg C
Supply Air Relative Humidity_Percentage
Fan Speed_Percentage
Unit Run Hours_Hrs
PAC Running Hours
| Ping | Availability
| SEB | SEB Energy Consumption
Load Manager_AC Phase1 to N Voltage_V
Load Manager_AC Phase2 to N Voltage_V
Load Manager_AC Phase3 to N Voltage_V
Load Manager_AC phase1 Current_A
Load Manager_AC phase2 Current_A
Load Manager_AC phase3 Current_A
Load Manager_Active Power_Kw
Load Manager_Reactive Power_KVAr
Load Manager_Apparent Power_KVA
Load Manager_Power Factor
Load Manager_Frequency_HZ
Load Manager_Apparent Energy_KVAh
Load Manager_Active Energy_KWH
Load Manager_Reactive Energy Lag_KVArh
Load Manager_Reactive Energy Lead_KVArh
Active Energy Consumption
SMPS CONTROLLER | BMS | BMS SYSTEM PARAMETER | Battery Part No
Battery Sr No
Battery Design Capacity
Module max charge current limit
Instantaneous maximum module current
Maximum Discharge Current of module
Remaining AH of the Bank
Number of Installed Modules
Number of Active Modules
|  | MODULE | Charging Current
SOC
SOH
Module Max Temperture
Module Voltage
| PING | Availability
| SMPS | DC Voltage
DC Current
DC KWH
Load Current
Battery Current
No of rectifiers powered up
Input Line A Voltage
Input Line B Voltage
Input Line C Voltage
Temperature 1
Temperature 2
Mains Cumulative KWh
Mains Cumulative KWh Source_2
Mains Cumulative Run Hrs
Battery Cumulative KWh
Battery Cumulative Run Hrs
Battery Discharge Cycle
DC Output Power
Load Cumulative KWh
Float Voltage
Charge Current Limit
BLVD Voltage
Ambient High Temperature Threshold
SMPS AC Energy Consumption
SMPS AC Energy Consumption Source_2
| ENERGY METERE | Power KW_SEB
Energy KWh_SEB
Power KW_DG
Energy KWh_DG
SEB Energy Consumption
DG Energy Consumption
| PING | Availability
| SMPS CONTROLLER | DC Voltage
DC Current
DC KWH
Load Current
Battery Current
No of rectifiers powered up
Input Line A Voltage
Input Line B Voltage
Input Line C Voltage
Input Line A Current
Input Line B Current
Input Line C Current
Mains Cumulative KWh
Mains Cumulative Run Hrs
Battery Cumulative KWh
Battery Cumulative Run Hrs
Battery Discharge Cycle
DC Output Power
Load Cumulative KWh
Float Voltage
BLVD Voltage
IP Address
SMPS AC Energy Consumption

## Python-Scripts
S.No. | Server | Location | Script Name | Details | Run on
1 | 159 | F:\EVEREST_MAINTENANCE | db_correction_script.py | To check DB correction | F:\EVEREST_MAINTENANCE>python db_correction_script.py
2 | 159 | F:\EVEREST_MAINTENANCE | test_sync_delete_from_onsites.py | After delete operation to sync
3 | 159 | F:\EVEREST_MAINTENANCE | test_all_replication.py
4 | 159 | F:\EVEREST_MAINTENANCE | test_manual_replication.py
5 | 159 | F:\EVEREST_MAINTENANCE | test_individual_replication.py
6 | 159 | F:\EVEREST_MAINTENANCE | test_generate_vendor_report.py | F:\EVEREST_MAINTENANCE\SMPS_Battery_Vendor_Report.csv
7 | 159 | F:\EVEREST_MAINTENANCE | test_sql.py
8 | 159 | F:\EVEREST_MAINTENANCE | test_update_resview.py
9 | 159 | F:\EVEREST_MAINTENANCE | test_DC_Data_Info.py
10 | 159 | F:\EVEREST_MAINTENANCE | test_node_memory.py
11 | 159 | F:\EVEREST_MAINTENANCE | test_classify.py
12 | 159 | F:\EVEREST_MAINTENANCE | test_get_raw_data.py
13 | 159 | F:\EVEREST_MAINTENANCE | test_take_backups.py
14 | 159 | F:\EVEREST_MAINTENANCE | test_data_in_onsite_db.py
15 | 159 | F:\EVEREST_MAINTENANCE | test_all_db.py
16 | 159 | F:\EVEREST_MAINTENANCE | test_ping_snmp_test.py
17 | 159 | F:\EVEREST_MAINTENANCE | test_csv_discovery.py
18 | 159 | F:\EVEREST_MAINTENANCE | disc_func.py
19 | 159 | F:\EVEREST_MAINTENANCE | test_ping_snmp.py
20 | 159 | F:\EVEREST_MAINTENANCE | test_ip_in_db.py
21 | 159 | F:\EVEREST_MAINTENANCE | test_clear_faulty_ip.py
22 | 159 | F:\EVEREST_MAINTENANCE | test11.py
23 | 159 | F:\EVEREST_MAINTENANCE | test_append_facility_in_csv.py
24 | 159 | F:\EVEREST_MAINTENANCE | test_update_nodeinfo_empty_fields.py
25 | 159 | F:\EVEREST_MAINTENANCE | test_update_sitename.py
26 | 159 | F:\EVEREST_MAINTENANCE | update_vendor.py
27 | 159 | F:\EVEREST_MAINTENANCE | copy_file.py
28 | 159 | F:\EVEREST_MAINTENANCE | test_change_report_time.py
29 | 159 | F:\EVEREST_MAINTENANCE | testDB.py
30 | 159 | F:\EVEREST_MAINTENANCE | testDataSanity.py
31 | 159 | F:\EVEREST_MAINTENANCE | testRIL_IP.py
32 | 159 | F:\EVEREST_MAINTENANCE | updateStat.py
33 | 159 | F:\EVEREST_MAINTENANCE | getResinfo.py
34 | 159 | F:\EVEREST_MAINTENANCE | Script_NodeInfo_RootPathInfo_check.py | List of IPs where there NE_ID mismatch in NodeInfo and RootPathInfo
35 | 159 | F:\EVEREST_MAINTENANCE | test_resource_ui_visibility_varification.py | If resCount visibility in UI less than 11
36 | 159 | F:\EVEREST_MAINTENANCE | test_resAdd.py | test script for add resource
37 | 159 | F:\EVEREST_MAINTENANCE | resourceadd.py | Adding resource with CSV
38 | 159 | F:\EVEREST_MAINTENANCE | maitenancethread.py | Auto replication daily at 0700
39 | 159 | F:\EVEREST_MAINTENANCE | test_tbl_backup.py | Its take backup of 6 tbl from MASTER to TEST_EVEREST_DB
40 | 183 | D:\Patches\PatchScript | test_Patch_Updatding_Script.py | To apply patches in DC's with updated Source path
41 | 184 | D:\Patches\PatchScript | test_Patch_Updatding_Script.py | To apply patches in DC's with updated Source path

## DBscript & .bat
Name | Type | Execution command in SQL Server | Remark
sp_SMPS_Battery_Load | Stored Procedure | exec sp_SMPS_Battery_Load '2016-04-27 00:00:00', '2016-04-27 23:59:59'
copyAutoAlarm.bat | batch file | That is executed by Window Task Scheduler | Its help to copy alarms at shared location
copyAutoReport.bat | batch file | That is executed by Window Task Scheduler | Its help to copy auto report at shared location
BMS_ActiveModulesStatus | sp
colosite_new | sp
Generate_Alarm_No | sp
getLicenseSoftwareInfo | sp
GetNodeBased_DisableNodes | sp
GetNodeBased_UpNodes | sp
GetRepresentedDomain | sp
GetRepresetnedLocation | sp
GetRepresentedPath | sp
GETRESOURCEINFO | sp
GETRESOURCEPAGE | sp
getSoftwareDetails | sp
getSoftwareListbyGroupname | sp
getSoftwarelistbyNodeid | sp
getTopSoftwareGrouplist | sp
largesite | sp
MAP_LOCATION_DOMAIN_INFO | sp
mediumsite_em | sp
NAVIGATION | sp
NAVIGATION_WithFilters | sp
smallsite | sp
sp_AdHoc_Report_Generation | sp
sp_checkForDeletedDataFromOnsite | sp
sp_checktablename | sp
sp_createFacilitywiseStatusTable | sp
sp_createSitewiseStatusTable | sp
sp_deleteDataFromOnsite | sp
sp_dropconstraint | sp
sp_dropconstraintAndColumn | sp
sp_getDGParameters | sp
sp_getRTUDGParameters | sp
sp_getSMPSDGParameters | sp
sp_insertDay | sp
sp_insertFacilitywiseStatusTable | sp
sp_insertHour | sp
sp_insertMonth | sp
sp_insertNodeInfo | sp
sp_insertRaw | sp
sp_insertSitewiseStatusTable | sp
sp_replicateData | sp
sp_ReportPresenter | sp |  | Getting data from DB based on the filter Condition like circle,mp,facility,vendor,ResourceType,Parameter list,Condition.
sp_ReportPresenterLatest | sp |  | Getting latest poll data of sites from DB based on the filter Condition like circle,mp,facility,vendor,ResourceType,Parameter list,Condition.
sp_RJIL_Reports | sp |  | Getting data from DB based on the filter Condition like circle,mp,facility,vendor,ResourceType,Parameter list,Condition.
sp_RJIL_Reports_Latest | sp |  | Getting latest poll data of sites from DB based on the filter Condition like circle,mp,facility,vendor,ResourceType,Parameter list,Condition.
sp_summarizeHDM | sp
sp_summarizeRH | sp
sp_syncData | sp
sp_syncNode | sp
sp_syncPath | sp
sp_syncProcess | sp
sp_syncResource | sp
sp_syncResourceView | sp
sp_syncThreshold | sp
sp_ThresholdsUpdate | sp |  | Updated thresholds set,reset point manual in All Dcs based on facility and Statistics
sp_UpdatePerfStats | sp
usp_getmdfsize | sp

## DB_Correction
S.No. | Query | Issue | Confirmation of Issue | Solution of Issue
1 |  | parent id = -1 and HID null | In resource view path is not proper (It's like root/PING) | delete all resources of the node from UI by searching IP and delete Empty Folder from DB
2 |  | Duplicate NEID | In IP view and Resource View a node have different NEID | delete that node from UI
3 |  | Empty Folder | Check in UI follow path from DB and empty folder found after NEID or before NEID | IF empty folder found before NEID so delete that and IF after NEID so delete complete Node from NEID and have detail of Node to releran.